## Item list and tech specifi
ITEM LIST AND TECHNICAL SPECIFICATION
Nr | Artikulli/Item | Technical Specifications | Quantity in piece | Price/Unit/ without VAT | Total
1 | Çanta/Bag | Shoulder and/or hand/Bag • One fold down compartment 16" x 11 ¾" x 1 ¾" with 5 storage pouches • Two security zipper compartments • Main "Clean" section 16" x 11 ¾" x 4" with 2 pouch pockets • Secondary "Soiled" compartment 16" x 11 ¾" x 1 ¾" with no pockets • File folder pocket (16" x 9 ½" external) • Two zippered end compartments, including a 1-quart sized sharps container pocket and a pocket for hand wash • Removable adjustable shoulder strap and double grip handles • Size: 16" x 11 3/4" x 7 1/2", weighs 2.6 lbs with lock • Supplies not included | 306 |  | 0
2 | Stetoskop per moshat pediatrike/Stethoscope for pediatric age | Features a chrome-plated zinc-alloy chestpiece, a screw-on plastic retaining ring, outer spring binaural and colour matched moulded PVC tubing with non-chill ring. Assure optimum acustic performances. Chestpiece: Ø 35 mm (paediatric), bell Ø 30 mm.Supplied in strong carton box with foam inside, with one set of spare eartips, spare diaphragm and user manual. | 76 |  | 0
3 | Stetoskop per te rritur /Stethoscope for adult | Traditional stethoscopes with robust, heavily chromed singlehead chestpiece with floating diaphragm diam 40 for a superior acoustic sensitivity. Supplied in strong carton box with foam inside, with one set of spare eartips, spare diaphragm and user manual. | 306 |  | 0
4 | Aparat tensioni me manshetë Pediatrik, Adult, Obez/ Sphygmomanometer adult/child and thigh size BP cuff | Professional sphygmomanometer with large Ø 65 mm dial and button type air release valve. ABS light plastic case, and extra shock-proof ring for long durability. 360° degree rotary handle. Supplied with nylon calibrated cuff with D-ring, black 1-tube PVC, latex free bladder and black PVC, latex free bulb in a nylon carrying bag and carton box. Adult size BP cuff child/pediatric size BP cuff, and thigh size BP cuff | 306 |  | 0
5 | Otoskop set/ Otoscope (set) | Function/use: A medical device which is used to look into the ears, packed in a box. • with pre-focused high-intensity bulb • 3X magnification • Reusable specula tip has 2.4, 3, 4 or 5mm sizes that fit for ages from infant to adults. • Penlight detaches • Batteries included | 306 |  | 0
6 | Oftalmoskop set/Ophthalmoscope (set) | Ophthalmoscope set composed of diagnostic head threaded on a handle. Direct ophthalmoscope with different filters (red-free, small spot), lenses (-20 to +20D) and apertures, battery handle for AA batteries.Set contained in a hard storage case,Liquid splash resistant.batteries included. | 76 |  | 0
7 | Treguesi i fluksit respirator per te rritur / Peak flow meter for adult | Peak Flow Meter (PEF) for adult, monitoring and tracking the control of asthma over time; 3 Washable Mouthpieces • PEF: Range 60-800 L/min (1 L/min resolution) • Colour zone: 3 colour zone (green, yellow, red) | 76 |  | 0
8 | Cekic neurologjik / Neurological hammer | Neurological reflex percussor • Handle: chromed brass • Pin: yes • Brush: yes • Length: 18 CM | 76 |  | 0
9 | Termometer dixhital / Digital Thermometer | Digital thermometer in °C, with clear and large backlight display, and flexible tip. It measures temperature in 30 seconds. - range 32.0°C-42.9°C - hang box - manual GB, IT - battery L394A | 306 |  | 0
10 | Meter/Measuring tape | Track your body measurements and progress. - Measures any body part: arm, thigh, calf, chest, waist, hips - Measures in inches and centimeters - Total measurement length: 60 inches/152 cm - Stylish design, easy measurement - Sturdy vinyl tape - Push-button retraction and locking feature ensure easy measurement and superior accuracy | 306 |  | 0
11 | Drite xhepi / Pocket type light | The very compact aluminum 1920 flashlight is designed with size and extreme performance in mind. Using readily available AAA batteries, this bright LED light creates a clean white beam. Long run times combined with high and low light output modes, make for an efficient lighting tool; the perfect personal light. High / Low modes On/Off/Momentary Switch 2 AA Batteries included. | 306 |  | 0
12 | Kalendar Index i mases trupore / BMI wheel metric | Calculate the body mass index ; BMI classification for adults: • Underweight <18Normal 18-24.9 Overweight 25-29.9• Obese BMI 30 + 4.5 inch diameter wheel (4.5 inchx2,54cm=11,43cm)• Weight in kilograms (kgs), Height in meters/centimeters (m/cm)• Printed on heavy card stock paper with laminated front and back | 306 |  | 0
13 | Kalendar shtatezanie / Pregnancy calendar | Material: Quality plastic construction Diameter: 5 inches x 2,54cm = 12,7 cm Weight: 0.5 ounces | 230 |  | 0
14 | Pulsoksimeter / Pulse oximeter | SpO2 and Pulse measurement. LCD/OLED display. Automatic power off. Batteries included. Pulse rate Measuring range: 30 ~ 250bpm Resolution: 1 bpm Accuracy: ±2bpm or ±2% SpO2 Measuring range: 0~100%, (resolution 1%) Accuracy: 70~100%: ±2% | 306 |  | 0
15 | Gershere e zakonshme / Common scissors | Common use scissors, Scissor, 8-Inches x2,54cm =20,32 cm, Professional Quality Scissors, great for fabrics, heavy weight paper and photos. Finest quality stainless steel blades for a sharp edge and long cutting life Precision Sharpened Blades | 230 |  | 0
16 | Lak hemostatik / Tourniquet | Fast tourniquet made in rubber-cotton with single lock system and quick release. • Material: rubber-cotton • Length: 40 cm • Widht 3 cm • Fastening systems: single lock system: quick release | 230 |  | 0
Total |  |  |  |  | 0
VAT |  |  |  |  | 0
Total with VAT |  |  |  |  | 0